Gram :  CENBOSEC, Delhi – 92 	                                                                              	 Phone: 22509256-59
E-Mail:  cbsedli@nda.vsnl.net.in 	                                                                                                   	 Fax:    22515826	
website: www.cbse.nic.in

CENTRAL BOARD OF SECONDARY EDUCATION 
(An Autonomous Organisation under the Union Ministry of Human Resource Development Govt. of India)

“SHIKSHA KENDRA”, 2, COMMUNITY CENTRE, PREET VIHAR, DELHI – 110092

No:CBSE/MAINT./F-450/2010					     Date: 06.12.2010

…………………………….

…………………………….

…………………………….

…………………………….

Sub: -	Limited tender for replacing damaged flooring in staircase & floors of HQ 	bldg.

Sir,

The CBSE intends to execute the above mentioned work through experienced, civil work agencies which have satisfactorily executed similar works. The rates are to be quoted on the prescribed format & EMD of Rs. 3,000/- in the form of DD/BD payable in f/o the Secretary, CBSE be enclosed. All the documents be put in an envelope superscribed “Flooring Stones Repair Work”. The tender may be dropped in the tender-box kept at the Reception Counter of HQ bldg. latest by 20.12.2010 upto 2.30p.m. & the same shall be opened at 3.00p.m. in the presence of the Contractors who may wish to be present.

Incomplete & conditional tenders shall be summarily rejected. The Secretary CBSE reserves the right to reject any or all the tenders without assigning any reasons thereof.

Your faithfully

(S.K. SHARMA)

SR. ENGINEER (ESTATE)

Name of Work:-  REPLACING DAMAGED FLOORING IN STAIRCASE & FLOORS OF HQ 				BUILDING.

| Sl. No. | Description of Work | Qty. | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 58 | sqm |  |  |
| 2. | Marble stone flooring with 18mm thick marble stone (sample of marble shall be approved by Engineer-in-charge) over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including rubbing and polishing complete with : 11.23.1 Makrana white second quality. | 19 | sqm |  |  |
| 3. | Extra for marble stone flooring in treads of steps and risers using single length up to 2.00 metre . | 15 | sqm |  |  |
| 4. | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 11.26.1 25 mm thick | 15 | sqm |  |  |
| 5. | Kota stone slabs 25 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 24 | sqm |  |  |
| 6. | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm. | 8 | sqm |  |  |
| 7. | P&F 12mm Jaisalmer sand stone of good quality in wall face in CM 1:3 (1 Cement:3Coarse sand) and grouted with white cement & matching pigment etc. complete including rubbing & polishing i/c removal of existing plaster an disposal of Malba as per direction of Engineer-In-Charge. | 5 | sqm. |  |  |

Terms and Conditions

- The work should be executed as per CPWD specifications and as per directions of Engineer-In-Charge.

- The Completion time would be 30 days.

- In case of delay, a penalty of 1% per week should be levied subject to a max. of 5%.

- The measurement shall be done jointly by the Contractor and JE (Civil).

- All T & P shall be arranged by the Contractor.

- Hindrance Register shall be maintained by JE at site.

- Instructions given in Site Order Book would be followed immediately.

- No running payment shall be considered. Only final bill would be paid within 30 days after submission of Bill duly verified by the JE.

- 10% of the bill shall be deducted as defect liability and shall be released after six months, provided there is no defect in the work.

- 10% deviation in quantities would be permitted.

- Extra-item if any would be paid on analyzed Market rates but the work must be executed with prior approval of Engineer-in-charge.

- In case of any dispute, the Arbitrator shall be appointed by the Chairman and his decision shall be binding on both the parties.

- The materials to be used must be got approved from the Engineer-in-charge before installation/use.

(Signature of the Agency)

With complete address and seal

Add.__________________

____________________

Tel. No.:__________________

Mobile No.:____________________

PAN No.: .:____________________