Gram :  CENBOSEC, Delhi – 92 	                                                                               Phone: 22509256-59
E-Mail:  cbsedli@nda.vsnl.net.in 	                                                                                                  Fax:    22515826	
website: www.cbse.nic.in

CENTRAL BOARD OF SECONDARY EDUCATION 
(An Autonomous Organisation under the Union Ministry of Human Resource Development Govt. of India)

“SHIKSHA KENDRA”, 2, COMMUNITY CENTRE, PREET VIHAR, DELHI – 110092

No. F-85/F.I./Signage/ 						      Date: 28.09.2010

………………………………

………………………………

………………………………

………………………………

………………………………

Sub: - Limited Tender for providing & fixing of Lazer Etched Base Exit Sign Boards.

Sir,

The Board intends to get Lazer Etched Base EXIT Sign Boards purchased & installed in its HQ building. Reputed manufacturers/ suppliers/ contractors interested to execute the work may quote the rates on the prescribed format. An EMD amounting to Rs. 3000/- in the form of DD/BD payable in f/o the Secretary, CBSE is to be annexed alongwith the tender. Sealed tenders complete in all respect must be submitted on or before 11.10.2010 upto 2.00 p.m. & put in the tender box placed at Reception Counter, Shiksha Kendra, Preet Vihar, Delhi-110092.

Incomplete & conditional tenders shall be summarily rejected. The Secretary, CBSE reserves the right to reject any or all the tenders without assigning any reason thereof.

Yours faithfully

(S.K SHARMA)

SR. ENGINEER (ESTATE)

Schedule of Work

Name of Work: Providing & Fixing of ‘Lazer Etched Base’ EXIT SIGN Boards with

Ni-cd Battery & Charger

| S.No. | Description | Qty. | Rate | Amount |
| --- | --- | --- | --- | --- |
| 1. | Providing & fixing of Lazer Etched Base EXIT Sign Board’s with Battery & Charger meeting the safety standards as per UL-924. The composition shall be as under: - Lazer etched double side 12mm (6+6) acrylic sheet. - Enclosure 22 SWG of CRCA steel sheet. - Excellent powder coating (silky smooth finish) minimum thickness: 80 microns - Size 175 x 390 mm - 6 VDC operating voltage - LPS safety circuit - Input (230±10% 1Ø 50 Hz) - 6V Ni-Cd battery (6 Hrs. backup) - Inbuilt battery charger with Auto change over to Battery/ Mains & vice-versa. - Full load current – 230 MA ± 10% - Consumption – 1.4 watts - On/Off switch - Deep discharge protection - Over charging protection - Fully solid state circuit for constant lighting - Glass epoxy PCB 1.6 mm with green masking. Note:- Approved Makes: Insta Power, Alpha, Agni. | 36 |  |  |
| 2. | Providing & fixing of Lazer Etched Base Exit Sign Boards with Battery & Charger meeting the safety standards as per UL-924. Lazer Etched single side 6mm/8mm acrylic sheet. Note:- Approved Makes: Insta Power, Alpha, Agni. | Rate only | ---- |  |

GROSS AMOUNT:

Terms & Conditions

- The work shall be executed as per CPWD specifications.

- The product must be complying the general requirements of Delhi Fire Services.

- The product must have a minimum working life for 5 years (more than 50000 hrs.) except battery.

- The product must be compact in size & versatile in use.

- The product must be shock resistance.

- The installation shall be done as per directions of the Engineer In-charge.

- Before installation the material shall be got checked.

- The agency shall be responsible for the safety of its workers.

- The work is to be completed within 20 days from the issue of the work order.

- In case of delayed execution, a penalty @ 1% per week shall be levied subject to a max. ceiling of 10%.

- In case of any signage fails to work within 1 year, the agency shall have to replace the same without any charge within 7 days of reporting.

- The agency shall be required to depute its Service Engineer within 48 Hrs., in case any defect is noticed & reported in writing.

- In case the agency delays the work without any valid reason, the Board reserves the right to rescind the work.

- In case of any dispute, the Chairman CBSE shall be the Sole Arbitrator & his decision shall be final & binding on both the parties.

Accepted by me:

Prop./Manager

Tel./Mob. No.