dsUnzh; ek/;fed f’k{kk cksMZ

2] lkeqnkf;d dsUnz izhr fogkj fnYyh&110092-

fufonk lwpuk

izfrf"Br~ ,oe~ vuqHkoh ,tsafl;kWaaaa tks ds0 yks0 fu0@u0 fn0 u0 ik0@lS0 v0 ls0@fnYyh eSVks fn0 fo0 izk0] o ljdkjh@v/kZljdkjh foHkkxksa ls iathd`r gksa ,oe~ fiNys rhu o"kksZa esa blh izdkj ds de ls de nks dk;Z fu"ikfnr fd;s gksa ftudk ewY; :0 10-00 yk[k ;k vf/kd gks] ls f}&cksyh vk/kkj ij eqgj cUn fufonk,a vkeaf=r dh tkrh gS A

1-	dk;Z dk uke 		%ds0ek0f’k0cks0 ds c`tfogkj xkft;kckn vkoklh; Hkouksa esa

fofo/k flfoy dk;Z A

2-	vuqekfur ykxr	%:0 16-00 yk[k A

3-	/kjksgj jkf’k		%:0 40]000@& lfpo ds0ek0f’k0cks0 ds i{k esa cSad M~k Vz ds

ek/;e ls ns;

4-	fufonk ewY;		%:0 500@&

5-	fufonk fcdzh		%flaM+hdsV cSad] ds0ek0f’k0cks0 izhr fogkj	 fnYyh&110092 ls

izkr% 10-00 cts ls 01-00 cts vijkg~u ds e/; lHkh dk;Z

fnolksa esa 04-08-2009 rd izkIr dj ldrs gSa A

6-	fufonk,Wa tek djus dh %fnukad 04-08-2009 vijkg~u 02-00 cts rd

dh vfUre frfFk

7-	rduhdh cksfy;kWa [kksyus %fnukad 04-08-2009 vijkg~u 02-30 cts

dh frfFk

fufonk;sa ds0ek0f’k0cks0 dh osclkbZV www.cbse.nic.in ls Hkh MkmuyksM dh tk ldrh gSa rFkk fufonk ewY; jkf’k :0 500@& mijksDr cSad esa tek djkdj jlhn layXu djuh gksxhA fufonk fu/kkZfjr izi= ds vuqlkj rduhdh o foRrh; cksyh vyx&vyx fyQkQksa esa j[kdj vUrr% ,d cM+s eqgjcUn fyQkQs esa j[kh tk;s ftl ij flfoy dk;ksZ gsrq fufonk vafdr gksA /kjksgj jkf’k o vU; nLrkost rduhdh cksyh ds lkFk laXyu djsaA foRrh; cksyh esa dsoy njsa gh Hkjh tk;saA fufonk;sa eq[;ky; Hkou ds Lokxr&d{k esa j[kh fufonk isVh esa Mkyh tk;saA ;ksX; fufonkdkjksa dh foRrh; cksfy;kWaa ckn esa [kksyh tk;saxh ftldh lwpuk mUgs le;kuqlkj Hkst nh tk;sxhA v/kwjs o l’kZr fufonk,a ljljh rkSj ij jn~n dj nh tk;saxhA lfpo] ds0ek0f’k0cks0 lHkh vFkok fdlh Hkh fufonk dks fcuk dkj.k crk;s fujLr djus gsrq vf/kd`r gSaA

la;qDr lfpo (iz0 o0 fo0)

CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

TENDER NOTICE

Sealed tenders are invited under Two-Bid System from reputed agencies registered with CPWD / NDMC / MES / Delhi Metro / DDA (Govt. & Semi-Govt. department)having executed minimum two similar works each costing Rs.10.0 lakh or more during the last three years.

- Name of work	:  Misc. Civil Works at CBSE Flats, Brij Vihar, Gzb.

- Estimated Cost	:	Rs. 16.00 lakh

- EMD	:	Rs.40000/- payable in f/o Secretary, CBSE through DD/BD

- Cost of  Tender         :  Rs 500/-

- Sale of Tender	:	upto 04.08.09 through Syndicate Bank, CBSE, Preet Vihar

Delhi-92 on all working days between 10 a.m. to 1.00 p.m.

- Last date for sub-	:	  04.08.09 upto 2.00 p.m.

mission of Tenders

- Opening of Technical-Bids 	:   04.08.09 at 2.30 p.m.

Tenders can also be down-loaded through the CBSE website: www.cbse.nic.in . In case of down loading the tenderer shall have to deposit Rs 500/- as cost of tender form in the aforesaid bank and enclosed the receipt. The tender is to be submitted on the prescribed format in Two-Bids ie; Technical & Financial Bids placed in two separate envelops respectively superscribed & both kept in another big envelope duly sealed superscribed “Tender for Civil Works”. The EMD & all requisite documents must be attached with the Technical Bid. The Financial Bid should contain the rates only.  The tenders duly filled in should be dropped in the tender box placed near Reception Counter at Ground Floor, HQ Bldg. Preet Vihar, Delhi-92. Financial Bids of the qualified tenderers shall be opened later on & the date for the opening of the Financial Bids would be intimated accordingly.  Incomplete & conditional tenders shall be summarily rejected.  The Secretary, CBSE reserves the right to reject any or all the tenders without assigning any reason thereof.

JT. SECRETARY (A & L)

CENTRAL BOARD OF SECONDARY EDUCATION

SHIKSHA KENDRA, 2, COMMUNITY CENTRE

PREET VIHAR,   DELHI-1100092

INSTRUCTIONS TO THE TENDERERS

- Incomplete and conditional tenders shall be summarily rejected.

- Rates are to be quoted in words and figures without any cutting/overwriting

- Analysis of rates must be attached with the tender.

- The agency should quote the rates after visiting the site and proper assessment of work.

- Prescribed enclosures are attached with the Technical Bid.

- Technical Bids and price Bid should be signed by the same authorized signatory.

- The Technical Bids shall be opened on 04.08.2009 at 2.30 p.m. in the presence of the tenderers.

- Any additional information required by CBSE in respect of the work experience shall be submitted by the tenderers within three days, failing which the offer shall not be entertained.

- Technical Bid received without EMD of Rs.30, 000/- in the form of a Demand draft / Banker’s Cheque shall be summarily rejected.

Terms and Conditions

- The work should be executed as per CPWD specifications and as per directions of Engineer-In-Charge.

- The Completion time would be 90 days.

- In case of delay, a penalty of 1% per week should be deducted.

- The measurement shall be done jointly by the Contractor and JE (Civil).

- All T & P shall be arranged by the Contractor.

- Hindrance Register shall be maintained by JE at site.

- Instructions given in Site Order Book would be followed immediately.

- Only one running payment would be considered after 40% completion of work and subsequently thereafter final bill would be paid within 30 days after submission of Bill by the Contractor.

- 10% of the bill shall be deducted as defect liability and shall be released after six months.

- 10% deviation in quantities would be permitted.

- Extra-item if any would be paid on analyzed Market rates but the work must be executed with prior approval of Engineer-in-charge.

- In case of any dispute, the Arbitrator shall be appointed by the Chairman and his decision shall be binding.

- The materials to be used must be got approved from the Engineer-in-charge before installation/use.

- Potable water shall only be used at site / work and arranged ownself by the contractor.  Nothing extra shall be paid on this account.

Accepted by me

(Signature of the Agency)

With complete address and seal

Add.__________________

____________________

Tel. No.:__________________

Mobile No.:________________

CENTRAL BOARD OF SECONDARY EDUCATION,

2, COMMUNITY CENTRE, PREET VIHAR,DELHI-92

Tender Form No. ________

Last date of submission :  04.08.09

Upto 2.00 p.m.

Note		               : Tenderer must read the instructions

Instructions to the Tenderers     : before filling the particulars in this part.

1. Credentials of the Tenderers

1.1 Name of the Agency with		_______________________________

Regn. No.

1.2 Office Address and

Tel.Nos.		      			_______________________________

1.3 Name(s) of the Proprieter/Partners         ________________________________

1.4 WCT No.		      			         _____________________________

1.5 PAN No.

( with documentary evidence)	                 _______________________________

1.6 Details of P.F. and ESI Registration No.

etc. (With documentary evidence)                   __________________________

1.7 Annual turnover preferably last three years

supported with documentary evidence)____________________________

2. Past Experience (preferably last three years)

with all necessary documentary evidence	    ________________________________

| SL. Nos. | Year | Name of the Organization | Cost of the work (Executed ) | Officer Concd. In the Organization with T.No. | Period From To |
| --- | --- | --- | --- | --- | --- |
| 01. | 2006-2007 |  |  |  |  |
| 02. | 2007-2008 |  |  |  |  |
| 03. | 2008-2009 |  |  |  |  |

  - Has the firm been ever debarred/ Black

Listed by any organization ? 			___________________________

If ‘Yes’ the details thereof.

  - The organizational set-up including

Technical infrastructure/staff strength		____________________________

in all the categories.

  - Similar work in hand at Delhi and adjoining 	_____________________________

area like Noida/Gzb/Gurgaon etc.

  - Particulars of Demand Draft paid as

Earnest Money:

Amount     :  Rs. 30,000/-

DD NO.    :  ________________

Issuing Bank with date of issue: _____________________

(Signature of the Tenderer)

With complete address and seal

Tel. No.:__________________

Mobile No.:________________

Place: ____________________

Date: ____________________

Name of work: Civil works at  CBSE Flats, Brij Vihar, Ghaziabad

| S.NO | DESCRIPTION OF ITEM | QTY. | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismantling of existing terrazzo finished kitchen slab in horizontal vis a vis the vertical planes including cleaning the surface & disposal of malba within 50 meters lead: Thickness up to 40 mm | 110 | Sqm |  |  |
| 2 | Dismantling old plaster or skirting, raking out joints and cleaning and preparing the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 450 | sqm |  |  |
| 3 | Cutting of chase in Brick work upto a depth of 50mm with150 mm width. | 100 | R/meter |  |  |
|  | Removing existing sinks and storing safely. Reinstallation of old sink in the same position after casting of C.C Slab and fixing of granite top as per the drawing . | 38 | each |  |  |
| 4 | Centering and shuttering Centering and shuttering including strutting, propping etc. and removal of form work from columns. | 40 | Sq.m |  |  |
| 5 | Reinforcement for R.C.C works including straightening, cutting, bending all complete mild steel and medium tensile steel bars. ( 8mm, 12mm dia. bars ) | 700 | k.g |  |  |
| 6 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering fixing and reinforcement. 1:1.5:3 (1 cement :1.5 coarse sand : 3 graded stone aggregate 20mm nominal size ) | 4 | Cu.m |  |  |
| 7 | CEMENT PLASTER (IN COARSE SAND) 12 mm cement plaster of mix 1:4 (1 cement: 4 coarse | 450 | sqm |  |  |
| 8 | Providing and fixing Ist quality ceramic glazed wall tiles (8’’x4’’) conforming to IS : 15622 (thickness to be specified by the manufacturer) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 60 | sqm |  |  |
| 9 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut granite stone for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. 1) Granite of any colour and shade 2) Granite of Zed black colour Note;- The Granite slabe shall preferably in single peace but in no case less than 8 ft on the main counter. | 150 | sqm |  |  |
| 10 | Extra for providing edge moulding to 18mm thick marble stone counters, Vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in- Charge. Granite work. | 190 | R/meter |  |  |
| 11 | Extra for fixing marble /granite stone over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive including cleaning etc. complete. | 190 | R/meter |  |  |
| 12 | Extra for providing opening of required size & shape for wash basins/ kitchen sink in kitchen platform, vanity counters and similar location in marble/Granite/stone work including necessary holes for pillar taps etc. including rubbing and polishing of cut edges etc. complete | 41 | each |  |  |
| 13 | Extra for hole in granite slabs for gas pipe line | 41 | Each |  |  |
| 14 | Repairs to plaster of thickness 12mm to 20mm in patches of area 2.5 sq. meters and under including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50metres lead : With cement mortar 1:4 (1 cement : 4 fine sand) With cement mortar 1:4 (1cement: 4 coarse sand). | 200 300 | Sqm Sqm |  |  |
| 15 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 5000 | sqm |  |  |
| 16 | White washing with lime to give an even shade : 14.42.1 Old work (One or more coats) | 7000 | sqm |  |  |
| 17 | Colour washing with lime to give an even shade : 14.42.1 Old work (two or more coats) | 1500 | sqm |  |  |
| 18 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 1000 | sqm |  |  |
| 19 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : Old work (one or more coats) | 1200 | sqm |  |  |
| 20 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade New work (two or more coats) over and including priming coat with cement primer. | 6000 | sqm |  |  |
| 21 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade One or more coats on old work. | 7300 | sqm |  |  |
| 22 | Painting on railing with synthetic enamel paint of approved brand and manufacture of required colors to give an even shade. Two or more coats on new works | 200 | sqm |  |  |
| 23 | Brick work with F.P.S. bricks of class designation 75 in foundation and plinth in: 6.1.1 Cement mortar 1:4 (1 cement : 4 coarse sand) | 2 | cum |  |  |
| 24 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 3 | cum |  |  |
| 25 | 10.1 Structural steel work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 4400 | Kg |  |  |
| 26 | Disposal of malba from worksite to dumping site within 5 k.m lead. | 20 | Cu.m |  |  |

Accepted by me

\

(Signature of the Agency)

With complete address and seal

Add.__________________

____________________

Tel. No.:__________________

Mobile No.:________________