…………………………

…………………………

…………………………

Sub: Limited Tender for Supply of Window/Split ACs on rent, AMC of     Window/Split- ACs/Water Coolers etc.

Sir,

The CBSE intends to select suitable & reputed agency/agencies for supply of Window/Split ACs on rent in additional to assigning AMC for Window/Split AC/Water coolers. The tentative qualities are given as under:-

- Rental AC

  - Window AC 1.5 Tr -:- 15 Nos.

  - Window AC 2.0 Tr -:– 9  Nos.

  - Split Unit      2.0 Tr -:– 3  Nos.

- Comprehensive AMC of water coolers:- 20 Nos.

- AMC of  Window/Split ACs

  - Window AC 1.5 Tr -:-15 Nos.

  - Window AC 2.0 Tr -:-20 Nos.

  - Split Unit     1.5 Tr  -:-14 Nos.

  - Split Unit     2.0 Tr  -:-10 Nos.

Note:- The Rental machines should be either new or at the most 2 years old with high efficiency. The sealed tenders complete in all resspects must be submitted latest by 02-04-09 along with an EMD of Rs.5000/- in the form of DD/BD payable in favour of the Secretary CBSE . The agencies may quote even for either one or all the items of their specialization. Incomplete and conditional tender shall be summarily rejected. The Secretary CBSE reserves the right to cancel any or all the Tenders without assigning any reason.

Yours faithfully

(S.K.SHARMA)

SR.ENGINEER (ESTATE)

CENTRAL BOARD OF SECONDARY EDUCATION ,

2, COMMUNITY CENTRE, PREET VIHAR, DELHI-92.

Last date : 02-04-09

Upto 5:00 P.M.

TECHNICAL-BID

Tender for supply of W/Split AC’s on rent

(Reputed Makes i.e. Voltas, Samsung, L.G. Videocon/ Hitachi/ Bluestar/ Carrier etc.)at H.Q.Bldg. at Preet Vihar, Delhi & Shiksha Sadan, Rouse Avenue New Delhi

- About the agency

  - Name of the Agency : …………………………………………….

  - Office Address : …………………………………………………..

………………………………………………….

1.3 Tel. No.            : …………………………………………………..

1.4 Email Id           : …………………………………………………..

1.5 License No. & Reg. Details : …………………………………….

……………………………………………………

1.6 P.F.A/c No.      :…………………………………………………..

1.7 PAN No.          : …………………………………………………..

1.8 Service Tax

Regd.Certificate: ………………………………………………….

1.9 Annual turnover last three years : ………………………………...

2.0  Experience :

  - Total experience in year : ……………………………………………………

  - Contract of approx. aquivalent value executed in the past

| SI. No. | Period From To | Name of the organization | Cost of the work executed | Contact person with Tel.No. |
| --- | --- | --- | --- | --- |
| 01. |  |  |  |  |
| 02. |  |  |  |  |
| 03. |  |  |  |  |
| 04. |  |  |  |  |
| 05. |  |  |  |  |

- Manpower details

  - No. of Supervisors : ……………………………………………………………………

  - No. of staff : ……………………………………………………..

Note : Please attach the scan copies of :

- License no. and Regn. No.

- P.F.  A/c No.

- Service Tax Regd. No.

(Authorized Signatory)

Price Bid

SCHEDULE OF WORK

Name of work :  Comprehensive AMC of Window/Split ACs

| SI. No. | Type of A.C.s | Capacity | Qty. | Rate/Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Window Type | 1.5 Tr. | 15 Nos. |  |  |
| 2. | Window Type | 2.0 Tr. | 9 Nos. |  |  |
| 3. | Window Type | 2.00 Tr. | 3 Nos. |  |  |

TERMS & CONDITIONS

- The  ACs  shall be maintained  for full season i.e. from April to Oct.

- Complaints lodged shall have to be attended within 24Hrs.

- 50%- payment shall be released after one month satisfactory performance & balance after Oct.

- In case of complaint is not cleared within 24 Hrs. Penalty @Rs.100/-per day shall be levied.

- In case of defect involving replacement of the compressor. The work has to be completed within 48Hrs failing which penalty @ Rs.200/- per day shall be levied.

- To meet emergent requirement,  the agency shall be bound to replace the machine as per direction of the Engineer incharge.

- For routine check up the agency may depute a Technician weekly.

- Monthly satisfactory Work-report on the prescribed format must be submitted along is the running/final bill.

Accepted by me.

Owner/Manager

Seal of the Firm

Price Bid

SCHEDULE OF WORK

Name of work :  Comprehensive AMC of Window/Split ACs

| SI. No. | Type of A.C.s | Capacity | Qty. | Rate/Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Window Type | 1.5 Tr. | 15 Nos. |  |  |
| 2. | Window Type | 2.0 Tr. | 20 Nos. |  |  |
| 3. | Split AC | 1.5 Tr. | 14 Nos. |  |  |
| 4. | Split AC | 2.0 Tr. | 10 Nos. |  |  |
| 5. | Gas Charging WAC | 2.0 Tr. | LS |  |  |
| 6. | Gas Charging Split Units | 1.5 Tr. 2.0 Tr. | LS LS |  |  |
| 7. | Gas ChargingWAC | 1.5 Tr. | LS |  |  |

TERMS & CONDITIONS

- The  ACs  shall be maintained  for full season i.e. from April to Oct.

- Complaints lodged shall have to be attended within 24Hrs.

- 50%- payment shall be released after one month satisfactory performance & balance after Oct.

- In case of complaint is not cleared within 24 Hrs. Penalty @Rs.100/-per day shall be levied.

- In case of defect involving replacement of the compressor. The work has to be completed within 48Hrs failing which penalty @ Rs.200/- per day shall be levied.

- To meet emergent requirement,  the agency shall be bound to replace the machine as per direction of the Engineer incharge.

- For routine check up the agency may depute a Technician weekly.

- Monthly satisfactory Work-report on the prescribed format must be submitted along is the running/final bill.

Accepted by me.

Owner/Manager

Seal of the Firm

Price Bid

SCHEDULE OF WORK

Name of work : Comprehensive AMC of Water Coolers :Qty. 20 (40/80 Ltr.)

| SI. No. | Make of Water Cooler | Capacity | Qty. | Rate/Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Any make | 40/80 Ltr. | 20 |  |  |
| 2. | Gas Charging | NA | LS |  |  |

TERMS & CONDITIONS

- The  Water Coolers  shall be maintained  for full season i.e. from April to Oct.

- Complaints lodged shall have to be attended within 24Hrs.

- 50%- payment shall be released after one month satisfactory performance & balance after Oct.

- In case of complaint is not cleared  within 12 Hrs. Penalty @Rs.100/-per day shall be levied.

- In case of defect involving replacement of the compressor. The work has to be completed within 48Hrs failing which penalty @ Rs.200/- per day shall be levied.

- For routine check up the agency may depute a Technician weekly.

- Monthly satisfactory Work-report on the prescribed format must be submitted along is the running/final bill.

- The agency shall be bound to use specified make spares which shall be checked before installation by the Board’s Engineer.

Accepted by me.

Owner/Manager

Seal of the Firm